## Sheet1
Code | Date | Time | Engineer | Peak Current | Location | Location | Work Done | Problem | Cause | Restore Time
P2BU | 2015-04-20 | 9:25 | John Hughes | 530 | -88° 44' 49.1" | 35° 6' 57.7" | Replaced Transformer | Bad Transformer off other feeder | No cause Found | 10:30